## User Instructions
| User Instructions | Drainage Appurtenance Information
| Drainage Appurtenance Information | Drainage Appurtenance Information
1. | Please read and review the Water Appurtenance Information form.
2. | Fill in the information regarding the project on the lines provided.
3. | Fill out the required appurtenance information using the drop down lists provided.
4. | If additional information or the information is not listed, please fill out in the notes section regarding the sub-product, product, model and manufacturer. Any other information please fill in the notes as well.
5. | If the project involves more than one main category item, select the row number on the ruler and copy entire row. Right click on the main category below the one wanting to duplicate and paste copied items. Fill out the information regarding the multiple item(s).
6. | Once all items are filled out as requested, check the awknowledgement and sign the document.

## Water Appurtenance Info
Water Appurtenance Information
[7 empty] | BC Request Type | ASP
NSP
Servicing Agreement: |  |  |  | EPCOR Project Number: |  |  |  | Subdivision
Consultant: |  |  |  | Consultant Project Number: |  |  |  | Other
Contractor: |  |  |  | Developer:
Subdivision |  |  |  | Date:
[7 empty] | Input | Yes
| Main Category | Sub-Category | Manufacturer | Model | Size | Notes
| Water Services | Service Tubing | IPEX | Q-Line PE-AL-PE | 25 mm
Water Mains
Fittings
Valves
Fire Hydrants
Coatings and Linings
Cathodic Protection
| Manholes | Alarms (Hatch) | Municipal Solutions | HG (Hatch Guard) | N/AP
Miscellaneous
Print Name:
Signature:
Company:
Date:
By checking this box, I certify the materials listed above are accurate and conforms to the approved products listed in EPCOR Vol.4 - Water Approved Product List.

## Command Sheet (hidden)
Main Category | Excel Sheet Instructions: -This system of dependent drop downs are utilizing the table names. You can rename them by clicking into a cell of the table, finding the temporary ribbon that says 'Table Design'. The 'Working' table that is mentioned in the code on Spill_Helper Sheet is refering to the Drop downs on the Water Appurtenance Info Sheet. -The Table entries are filtered and sorted through on the spill sheet. The spill sheet also puts the data in a format acceptable for the data validation on the main working table.
Pipe | This video was the base to making this coding format: | Water Services |  |  |  | Water Mains |  |  |  | Fittings |  |  |  | Valves |  |  |  | Fire Hydrants |  |  |  | Coating and Linings |  |  |  | Cathodic Protection |  |  |  | Manholes |  |  |  | Miscellaneous
Catch Basin | https://youtu.be/8l9Wp0T_SOE | Options1 |  |  |  | Options2 |  |  |  | Options3 |  |  |  | Options4 |  |  |  | Options5 |  |  |  | Options6 |  |  |  | Options7 |  |  |  | Options8 |  |  |  | Options9
Manhole |  | Subcategory | Manufacturer | Model | Size | Subcategory | Manufacturer | Model | Size | Subcategory | Manufacturer | Model | Size | Subcategory | Manufacturer | Model | Size | Subcategory | Manufacturer | Model | Size | Subcategory | Manufacturer | Model | Size | Subcategory | Manufacturer | Model | Size | Subcategory | Manufacturer | Model | Size | Subcategory | Manufacturer | Model | Size
Control Structure |  | Main Stops | Cambridge Brass | 301 Series | 20 to 50 mm | Polyvinyl Chloride (PVC) Water Pipe | IPEX | Blue Brute | 100 to 300 mm | Couplings (PVC) | Certain Teed | HD | 100 to 300 mm | Butterfly Valves | DeZurik | BAW | 450 to 3000 mm | Fire Hydrants | American AVK | 2708 Nostalgic | 150 mm | Epozy Coatings and Linings | 3M | Scotchkote 134 | - | Cathodic Protection Weld Protection Materials | Royston | Roybond 747 | - | Frames and Covers | Norwood Foundry | F-39 ( Type 6A) | - | Insulation | Dupont | Highload 40 | N/AP
LID |  | Main Stops | Ford | FB Series | 20 to 50 mm | Polyvinyl Chloride (PVC) Water Pipe | IPEX | Terra Brute | 100 to 600 mm | Couplings (PVC) | Westlake Pipe & Fittings | PVC Machined Repair Couplings | 250 mm | Butterfly Valves | DeZurik | BAW | 100 to 200 mm | Fire Hydrants | Mueller | Canada Valve Century | 150 mm | Plant Coatings | Fusion Bonded Epoxy (FBE) | - | - | Cathodic Protection Weld Protection Materials | Royston | Handicap IP | - | Frames and Covers | Trojan Industries | TF-39 (Type 6A) | - | Insulation | Beaver Plastics | Terrafoam HS40 | N/AP
Pump |  | Main Stops | Ford | QJ Series | 20 to 50 mm | Polyvinyl Chloride (PVC) Water Pipe | IPEX | Centurion | 350 to 900 mm | Couplings (PVC) | Westlake Pipe & Fittings | PVC Machined Repair Couplings | 300 mm | Butterfly Valves | K Flow (Crispin) | 500 Series | 75 to 600 mm | Fire Hydrants | McCavity (Clow) | Brigadier (M67) | 150 mm | Plant Coatings | Shaw Pipe | Yellow jacket 1 External coating | Up to 600 mm | Cathodic Protection Weld Protection Materials | Polyken | 1027 | - | Frames and Covers | Norwood Foundry | PM-A | - | Insulation | Owens Corning | FOAMULAR 400 | N/AP
Corrosion Protection |  | Main Stops | Ford | QJNK Series | 20 to 50 mm | Polyvinyl Chloride (PVC) Water Pipe | IPEX | Centurion | 950 to 1050 mm | Couplings (PVC) | IPEX | Blue Brute | 100 to 300 mm | Butterfly Valves | K Flow (Crispin) | 47 Series | 750 and up | Fire Hydrants | Mueller | Modern Centurion | 150 mm | Tape Coatings (Cold Applied) | Denso | Primer and Tape | - | Cathodic Protection Weld Protection Materials | Polyken | 931 | - | Frames and Covers | Trojan Industries | PM-A | - | Insulation | Urecon | Pre-Insulated Pipe | 150 to 300 mm
Miscellaneous |  | Main Stops | Mueller | B2500 Series | 20 to 50 mm | Polyvinyl Chloride (PVC) Water Pipe | IPEX | Fusible Brute | 100 to 450 mm | Couplings (PVC) | Westlake Pipe & Fittings | Westlake PVC Couplings | 100 to 200 mm | Butterfly Valves | M&H (Clow) | 4500 | 100 to 600 mm | Fire Hydrants | East Jordan Iron Works | Watermaster (5CD250) | 150 mm | Tape Coatings (Cold Applied) | Interprovincial Corrosion | Primer, Mastic and Tape | - | Cathodic Protection Weld Protection Materials | Polyguard | 600 | - | Alarms (Hatch) | Municipal Solutions | HG (Hatch Guard) | N/AP | Insulation | Urecon | Spray On Insulation | N/AP
|  | Service Saddles (Includes Tapped Repair Clamps) | Cambridge Brass | 810 Series | Tapped Outlet 20 to 50 & Pipe Size 100 to 300 mm | Polyvinyl Chloride (PVC) Water Pipe | Westlake Pipe & Fittings | Aquaspring C900 IB PVC Pressure Pipe | 100 to 300 mm | Couplings (PVC) | IPEX | PVC Tapped Couplings | 150 to 200 x 20 to 50 single | Butterfly Valves | M&H (Clow) | 1450 | 750 to 1200 mm | Other | - | - | - | Tape Coatings (Cold Applied) | Polyguard | 600 Primer and Tape | - | Cathodic Protection Weld Protection Materials | KEMA | 250-12 | - | Other | - | - | - | Other | - | - | -
|  | Service Saddles (Includes Tapped Repair Clamps) | Cambridge Brass | 810 Series | Tapped Outlet 20 to 50 & Pipe Size 100 to 300 mm | Polyvinyl Chloride (PVC) Water Pipe | Westlake Pipe & Fittings | Aquaspring C900 IB PVC Pressure Pipe | 350 to 600 mm | Couplings (PVC) | IPEX | PVC Tapped Couplings | 150 to 200 x 20 to 50 double | Butterfly Valves | Pratt | Lineseal / MKII, 2FII | 450 to 500 mm |  |  |  |  | Tape Coatings (Cold Applied) | Polyken | 1027 Primer and 930 Tape | - | Cathodic Protection Weld Protection Materials | KEMA | 250 | - |  |  |  |  | Pipe Casing Spacers | APS | SIM | 100 to 600 mm
|  | Service Saddles (Includes Tapped Repair Clamps) | Cambridge Brass | 811 Series | Tapped Outlet 20 to 50 & Pipe Size 100 to 300 mm | Polyvinyl Chloride (PVC) Water Pipe | Westlake Pipe & Fittings | Aquaspring C900 Certa-Lok RJIB Pressure Pipe | 150 to 600 mm | Couplings (PVC) | IPEX | PVC Repair Coulpings (without pipe stop) | 100 to 300 mm | Butterfly Valves | Mueller | Lineseal / MKII, 2FII | 450 to 500 mm |  |  |  |  | Tape Coatings (Cold Applied) | Polyken | 1029 Primer and 930 Tape | - | Cathodic Protection Splice Protection Material | 3M | 8420 Series Cold shrink Connector | - |  |  |  |  | Pipe Casing Spacers | APS | SI12 | 600 to 3000 mm
|  | Service Saddles (Includes Tapped Repair Clamps) | Cambridge Brass | 812 Series | Tapped Outlet 20 to 50 & Pipe Size 100 to 300 mm | Polyvinyl Chloride (PVC) Water Pipe | Next Polymers | Aqualoc | 100 to 400 mm | Couplings (PVC) | IPEX | Fabricated PVC Reducer Couplings DR18 | 200 to 600 mm | Butterfly Valves | Pratt | Lineseal / XR-70 | 600 to 3600 mm |  |  |  |  | Tape Coatings (Cold Applied) | Premier Coating | Primer and LT Tape | - | Cathodic Protection Splice Protection Material | 3M | Scotchfil Putty | - |  |  |  |  | Pipe Casing Spacers | BWM | SS-8 | 100 to 600 mm
|  | Service Saddles (Includes Tapped Repair Clamps) | Canada Pipeline Acc. | CR8 | Tapped Outlet 20 to 50 & Pipe Size 100 to 300 mm | Polyvinyl Chloride (PVC) Water Pipe | Northern Pipe Products Inc. | C900 | 100 to 300 mm | Couplings (PVC) | Westlake Pipe & Fittings | Fabricated PVC Reducer Couplings DR18 | 200 to 600 mm | Butterfly Valves | Mueller | Lineseal / XR-70 | 600 to 3600 mm |  |  |  |  | Tape Coatings (Cold Applied) | Renfrew | 327 Primer and 303-35 Tape | - | Cathodic Protection Splice Protection Material | 3M | Scotch 130C Linerless Rubber Splicing Tape | - |  |  |  |  | Pipe Casing Spacers | BWM | SS-12 | 750 to 1500 mm
|  | Service Saddles (Includes Tapped Repair Clamps) | Canada Pipeline Acc. | SC1 | Tapped Outlet 20 to 50 & Pipe Size 100 to 300 mm | Polyvinyl Chloride (PVC) Water Pipe | Northern Pipe Products Inc. | C900 | 350 to 750 mm | Couplings (PVC) | Galaxy Plastics | Fabricated PVC Reducer Couplings DR18 | 200 to 600 mm | Butterfly Valves | Pratt | Lineseal / HP-250 | 450 to 1350 mm |  |  |  |  | Tape Coatings (Cold Applied) | Royston | 747 Primer and Greenline Tape | - | Cathodic Protection Splice Protection Material | Raychem | WCSM - 9/3 | - |  |  |  |  | Pipe Casing Spacers | PSI | Uni-Flange Restrained Casing Spacers | 100 to 600 mm
|  | Service Saddles (Includes Tapped Repair Clamps) | Canada Pipeline Acc. | SC2 | Tapped Outlet 20 to 50 & Pipe Size 100 to 300 mm | Polyethylene Water Pipe | Driscopipe | 4000 | - | Couplings (PVC) | IPEX | Fabricated PVC Repair Coulpings DR18 (without pipe stop) | 350 to 600 mm | Butterfly Valves | Mueller | Lineseal / HP-250 | 450 to 1350 mm |  |  |  |  | Tape Coatings (Cold Applied) | Trenton | Tec-Tape | - | Other | - | - | - |  |  |  |  | Pipe Casing Spacers | PSI | Booster, A8GI, A12GI | -
|  | Service Saddles (Includes Tapped Repair Clamps) | Robar | 2406 | 100 to 600 mm | Polyethylene Water Pipe | Driscopipe | 4100 | - | Couplings (PVC) | Westlake Pipe & Fittings | Fabricated PVC Repair Coulpings DR18 (without pipe stop) | 350 to 600 mm | Butterfly Valves | Pratt | Lineseal / 2FII | 100 to 200 mm |  |  |  |  | Tape Coatings (Cold Applied) | Advanced Corrosion Solutions | Tape, Mastic, and Primer | - | [8 empty] | Pipe Casing Spacers | PSI | Ranger Midi 65 | 150 to 300 mm
|  | Service Saddles (Includes Tapped Repair Clamps) | Robar | 2408 | 100 to 600 mm | Polyethylene Water Pipe | KWH Pipe | Sclairpipe | 100 to 1200 mm | Couplings (PVC) | Galaxy Plastics | Fabricated PVC Repair Coulpings DR18 (without pipe stop) | 350 to 600 mm | Butterfly Valves | Mueller | Lineseal / 2FII | 100 to 200 mm |  |  |  |  | Tape Coatings (Cold Applied) | PCS | Tape, Mastic, and Primer | - | [8 empty] | Pipe Casing Spacers | Raci | FOAMULAR 400 | Up to 528 O.D.
|  | Service Saddles (Includes Tapped Repair Clamps) | Robar | 2506 | 100 to 600 mm | Concrete Steel Cylinder Water Pipe | Hyprescon | Hyprescon C303 | 450 mm | Couplings (PVC) | IPEX | Fabricated PVC Reducer Couplings DR25 | 762 to 914 mm | Gate Valves | American AVK | Series 45 | 100 to 400 mm |  |  |  |  | Heat-Shrinkable Sleeves | Canusa-CPS | Aqua- Shield | - | [8 empty] | Pipe Casing Spacers | Raci | E | Up to 2861 O.D.
|  | Service Saddles (Includes Tapped Repair Clamps) | Robar | 2616 | 100 to 600 mm | Concrete Steel Cylinder Water Pipe | Hyprescon | Hyprescon C301 | 60 to 1350 mm | Couplings (PVC) | Westlake Pipe & Fittings | Fabricated PVC Reducer Couplings DR25 | 762 to 914 mm | Gate Valves | Clow | McAvity/Solid Wedge | 100 to 750 mm |  |  |  |  | Other | - | - | - | [8 empty] | Waterproofing | Innovative Manufacturing | Spray on Roof Coating | N/AP
|  | Service Saddles (Includes Tapped Repair Clamps) | Robar | 2626 | 100 to 600 mm | Ductile Iron Water Pipe | Canada Pipe | Tyton Joint | 150 to 600 mm | Couplings (PVC) | Galaxy Plastics | Fabricated PVC Reducer Couplings DR25 | 762 to 914 mm | Gate Valves | Clow | Resilient Wedge 2640 | 100 to 300 mm | [16 empty] | Waterproofing | XYPEX | Base Caot: Concentrate Top , Coat Modified | N/AP
|  | Service Saddles (Includes Tapped Repair Clamps) | Robar | 2706 | 100 to 600 mm | Lubricants | J.C. Whitlam Manufacturing Co. | Blue Lube Pipe Gasket Lubricant | - | Couplings (PVC) | IPEX | Fabricated PVC Repair Coulpings DR25 (without pipe stop) | 763 to 914 mm | Gate Valves | Clow | Resilient Wedge 2638 | 350 to 450 mm
|  | Service Saddles (Includes Tapped Repair Clamps) | Romac | 200 Series | 100 to 400 mm | Lubricants | G.P. Chemicals | Rehau Pipe Lubricant | - | Couplings (PVC) | Westlake Pipe & Fittings | Fabricated PVC Repair Coulpings DR25 (without pipe stop) | 764 to 914 mm | Gate Valves | Mueller | RW A2360 | 100 to 300 mm
|  | Service Saddles (Includes Tapped Repair Clamps) | Romac | 300 Series | 100 to 750 mm | Lubricants | G.P. Chemicals | Pipe Lubricant | - | Couplings (PVC) | Galaxy Plastics | Fabricated PVC Repair Coulpings DR25 (without pipe stop) | 765 to 914 mm | Gate Valves | Mueller | RW A2362 | 100 to 300 mm
|  | Service Saddles (Includes Tapped Repair Clamps) | Romac | SS1 | Tapped outlet 20 to 50 mm | Lubricants | G.P. Chemicals | Ipex Pipe Lubricant | - | Bolted Sleeve Couplings and Adaptors | Besco | Dresser Style 38 | Up to 1800 mm | Gate Valves | Mueller | Resilient Wedge | 100 to 400 mm
|  | Service Saddles (Includes Tapped Repair Clamps) | Romac | SS2 | Tapped outlet 20 to 50 mm | Lubricants | Liquid Ease | One Bolt Fitting Lubricant | - | Bolted Sleeve Couplings and Adaptors | Canada Pipeline Acc. | CDB | 100 to 300 mm | Gate Valves | Terminal City | Solid Wedge | 100 to 400 mm
|  | Service Saddles (Includes Tapped Repair Clamps) | Romac | SS3 | Tapped outlet 20 to 50 mm | Lubricants | Robar | Slykstyx | - | Bolted Sleeve Couplings and Adaptors | Canada Pipeline Acc. | 200 | 100 to 1350 mm | Gate Valves | East Jordan Iron Works | Resilient Wedge | 100 to 400 mm
|  | Service Saddles (Includes Tapped Repair Clamps) | Smith-Blair | 264 | - | Water Main Tracing | Rhino | Blue Tri-View Test Station with Water Pipeline Decal | 48" | Bolted Sleeve Couplings and Adaptors | Canada Pipeline Acc. | Quantum Model 461 | 100 to 300 mm | Gate Valves | American Flow Control | RW Series 2500 | 100 to 1200 mm
|  | Service Saddles (Includes Tapped Repair Clamps) | Smith-Blair | 265 | - | Water Main Tracing | Rhino | Blue Tri-View Test Station with Water Pipeline Decal | 54" | Bolted Sleeve Couplings and Adaptors | EBAA Iron Works | Series 3800 | 100 to 300 mm | Gate Valves | American Flow Control | RW Series 2500-1 | 100 to 1200 mm
|  | Service Saddles (Includes Tapped Repair Clamps) | Smith-Blair | 313 | 100 to 300 mm | Water Main Tracing | Rhino | Blue Tri-View Test Station with Water Pipeline Decal | 60" | Bolted Sleeve Couplings and Adaptors | Glynwed Pipe Systems | GPS Couplings | 50 to 600 mm | Check Valves | Mueller | A 2600 | 100 to 300 mm
|  | Service Saddles (Includes Tapped Repair Clamps) | Smith-Blair | 317 | 100 to 300 mm | Water Main Tracing | Rhino | Blue Tri-View Test Station with Water Pipeline Decal | 66" | Bolted Sleeve Couplings and Adaptors | Hymax | 2000 | 100 to 600 mm | Check Valves | Mueller | 52 SCS-1 | 100 to 300 mm
|  | Service Saddles (Includes Tapped Repair Clamps) | Smith-Blair | 331 | 100 to 300 mm | Water Main Tracing | Rhino | Blue Tri-View Test Station with Water Pipeline Decal | 72" | Bolted Sleeve Couplings and Adaptors | Mueller | MaxiRange | 100 to 400 mm | Check Valves | Mueller | A 2122 | 100 to 300 mm
|  | Service Saddles (Includes Tapped Repair Clamps) | Smith-Blair | 325 | 100 to 300 mm | Water Main Tracing | Rhino | Blue Tri-View Test Station with Water Pipeline Decal | 78" | Bolted Sleeve Couplings and Adaptors | Robar | 1500 Series | 100 to 600 mm | Check Valves | APCO Willamette | 5800 | 450 to 1500 mm
|  | Service Saddles (Includes Tapped Repair Clamps) | Smith-Blair | 357 | 100 to 300 mm | Water Main Tracing | Rhino | Blue Tri-View Test Station with Water Pipeline Decal | 84" | Bolted Sleeve Couplings and Adaptors | Robar | Vantage | 100 to 300 mm | Check Valves | APCO Willamette | 5800B | 450 to 1500 mm
|  | Service Saddles (Includes Tapped Repair Clamps) | Smith-Blair | 662 | - | Water Main Tracing | Rhino | Blue Tri-View Test Station with Water Pipeline Decal | 90" | Bolted Sleeve Couplings and Adaptors | Robar | 1900 sries | 300 to 1350 mm | Check Valves | APCO Willamette | 9000 | 100 to 1500 mm
|  | Service Saddles (Includes Tapped Repair Clamps) | Smith-Blair | 663 | - | Other | - | - | - | Bolted Sleeve Couplings and Adaptors | Robar | 7500 Series FCA | 100 to 300 mm | Check Valves | APCO Willamette | 9000L | 100 to 1500 mm
|  | Water Service Unions | A.Y. Macdonald | 74758Q-66 | 20-25 mm |  |  |  |  | Bolted Sleeve Couplings and Adaptors | Robar | 7900 Series FCA | 100 to 600 mm | Check Valves | APCO Willamette | 300 Series | 100 to 250 mm
|  | Water Service Unions | A.Y. Macdonald | 74758Q-68 | 20-25 mm |  |  |  |  | Bolted Sleeve Couplings and Adaptors | Robar | 1696-2B | 100 to 300 mm | Check Valves | APCO Willamette | 600 Series | 100 to 1050 mm
|  | Water Service Unions | Cambridge Brass | 118 Series | 20 to 50 mm |  |  |  |  | Bolted Sleeve Couplings and Adaptors | Romac | 400 | 450 to 600 mm | Check Valves | APCO Willamette | 100 Series | 100 to 600 mm
|  | Water Service Unions | Ford | Q Series | 20 to 50 mm |  |  |  |  | Bolted Sleeve Couplings and Adaptors | Romac | FC 400 | 450 to 600 mm | Automatic Air Valves | APCO Willamette | 50 Series | 12 to 25 mm
|  | Water Service Unions | Ford | C Series | 20 to 50 mm |  |  |  |  | Bolted Sleeve Couplings and Adaptors | Romac | TC 400 | 300 to 600 mm | Automatic Air Valves | APCO Willamette | 140 Series | 10 to 75 mm
|  | Water Service Unions | Mueller | 110 Compression | 20 to 50 mm |  |  |  |  | Bolted Sleeve Couplings and Adaptors | Romac | 501 | 100 to 600 mm | Automatic Air Valves | APCO Willamette | 143C to 151C | 25 to 200 mm
|  | Water Service Unions | Philmac | Universal Transition Coupling (UTC) | 20 to 50 mm |  |  |  |  | Bolted Sleeve Couplings and Adaptors | Romac | FCA 501 | 100 to 300 mm | Automatic Air Valves | APCO Willamette | 150 Series | 100 to 750 mm
|  | Polyvinyl Chloride (PVC) Service Pipe | IPEX | Blue Brute | 100 mm |  |  |  |  | Bolted Sleeve Couplings and Adaptors | Romac | Macro | 100 to 300 mm | Automatic Air Valves | APCO Willamette | 200A Series | 25 mm
|  | Polyvinyl Chloride (PVC) Service Pipe | Flex-Lox | Pressure flex | 100 mm |  |  |  |  | Bolted Sleeve Couplings and Adaptors | Romac | ALPHA Coupling | 100 to 300 mm | Automatic Air Valves | APCO Willamette | 200A Series | 50 mm
|  | Polyvinyl Chloride (PVC) Service Pipe | Westlake Pipe & Fittings | PVC C900 | 100 mm |  |  |  |  | Bolted Sleeve Couplings and Adaptors | Smith Blair | 411 | 100 to 1350 mm | Automatic Air Valves | ARI Flow Control Accessories | K Models | 20 to 50 mm
|  | Service Tubing | Wolverine | Type K | 20 to 50 mm |  |  |  |  | Bolted Sleeve Couplings and Adaptors | Smith Blair | 413 | 100 to 600 mm | Automatic Air Valves | ARI Flow Control Accessories | S Models | 20 to 50 mm
|  | Service Tubing | Great Lakes | Type K | 20 to 50 mm |  |  |  |  | Bolted Sleeve Couplings and Adaptors | Smith Blair | 441 | 100 to 300 mm | Automatic Air Valves | ARI Flow Control Accessories | D Models | 20 to 50 mm
|  | Service Tubing | Cerro | Type K | 20 to 50 mm |  |  |  |  | Bolted Sleeve Couplings and Adaptors | Smith Blair | 912 | 100 to 300 mm | Manual Air Valves | Crane | 438 | 15 to 80 mm
|  | Service Tubing | Halstead | Type K | 20 to 50 mm |  |  |  |  | Bolted Sleeve Couplings and Adaptors | Smith Blair | 913 | 100 to 600 mm | Manual Air Valves | Crane | 1701 | 6 to 80 mm
|  | Service Tubing | IPEX | Q-Line PE-AL-PE | 20 mm |  |  |  |  | Bolted Sleeve Couplings and Adaptors | Smith Blair | 421 Top Bolt | 100 to 600 mm | Manual Air Valves | Boshart | 814 | 15 to 100 mm
|  | Service Tubing | IPEX | Q-Line PE-AL-PE | 25 mm |  |  |  |  | Bolted Sleeve Couplings and Adaptors | Viking Johnson | Maxfit | 50 to 600 mm | Manual Air Valves | Newman Hattersly | 33 | 15 to 50 mm
|  | Service Tubing | IPEX | Blue 904 | 25 to 50 mm |  |  |  |  | Water Main Fittings | IPEX | PVC Tees Branch same dia. or smaller | Run: 100 to 200 mm , Branch: 100 to 300 mm | Manual Air Valves | Jenkins | 310J | 15 to 80 mm
|  | Service Tubing | Rehau | Municipex | 25 to 50 mm |  |  |  |  | Water Main Fittings | IPEX | PVC Elbows | 100 to 300 mm | Manual Air Valves | Kitz | 40 | 10 to 50 mm
|  | Curb Stops | Cambridge Brass | 202 Series | 20 mm |  |  |  |  | Water Main Fittings | IPEX | PVC Plugs | 100 to 300 mm | Manual Air Valves | Nibco | T-113 | 8 to 80 mm
|  | Curb Stops | Cambridge Brass | 202 Series | 25 mm |  |  |  |  | Water Main Fittings | IPEX | Fabricated PVC Tees DR18 Branch same dia. or smaller | Run: 250 to 300 mm, Branch: 100 to 300 mm | Manual Air Valves | Toyo | 206A | 10 to 100 mm
|  | Curb Stops | Cambridge Brass | 202 Series | 40 mm |  |  |  |  | Water Main Fittings | Westlake Pipe & Fittings | Fabricated PVC Tees DR18 Branch same dia. or smaller | Run: 250 to 300 mm, Branch: 100 to 300 mm | Pressure Reducing Valves | Singer | 106 PR | 100 to 400 mm
|  | Curb Stops | Cambridge Brass | 202 Series | 50 mm |  |  |  |  | Water Main Fittings | Galaxy Plastics | Fabricated PVC Tees DR18 Branch same dia. or smaller | Run: 250 to 300 mm, Branch: 100 to 300 mm | Flow Control Valves | Cla-Val Co. | Hytol | 10 to 900 mm
|  | Curb Stops | Ford | BH Ball Valves with QJ | 20 mm |  |  |  |  | Water Main Fittings | IPEX | Fabricated PVC Tees DR18 Branch smaller dia. Than run | Run: 350 to 600 mm, Branch: 100 to 500 mm | Valve Casings and Middle Extensions | Norwood Foundry | Type B (Screw) | -
|  | Curb Stops | Ford | BH Ball Valves with QJ | 25 mm |  |  |  |  | Water Main Fittings | Westlake Pipe & Fittings | Fabricated PVC Tees DR18 Branch smaller dia. Than run | Run: 350 to 600 mm, Branch: 100 to 500 mm | Valve Casings and Middle Extensions | Trojan Industries | Type B (Screw) | -
|  | Curb Stops | Ford | BH Ball Valves with QJ | 40 mm |  |  |  |  | Water Main Fittings | Galaxy Plastics | Fabricated PVC Tees DR18 Branch smaller dia. Than run | Run: 350 to 600 mm, Branch: 100 to 500 mm | Valve Casings and Middle Extensions | SIGMA | Type B (Screw) | -
|  | Curb Stops | Ford | QJNK Connection | 20 mm |  |  |  |  | Water Main Fittings | IPEX | Fabricated PVC Crosses DR18 Branch same dia. or smaller | Run: 150 to 300 mm, Branch: 100 to 300 mm | Valve Casings and Middle Extensions | Westview Sales | Type B (Screw) | -
|  | Curb Stops | Ford | QJNK Connection | 25 mm |  |  |  |  | Water Main Fittings | Westlake Pipe & Fittings | Fabricated PVC Crosses DR18 Branch same dia. or smaller | Run: 150 to 300 mm, Branch: 100 to 300 mm | Valve Casings and Middle Extensions | Trojan Industries | EPCORVBR - ## | -
|  | Curb Stops | Ford | QJNK Connection | 40 mm |  |  |  |  | Water Main Fittings | Galaxy Plastics | Fabricated PVC Crosses DR18 Branch same dia. or smaller | Run: 150 to 300 mm, Branch: 100 to 300 mm | Other | - | - | -
|  | Curb Stops | Mueller | B-25209 Series | 20 mm |  |  |  |  | Water Main Fittings | IPEX | Fabricated PVC Crosses DR18 Branch smaller dia. than run | Run: 350 to 600 mm, Branch: 100 to 500 mm
|  | Curb Stops | Mueller | B-25209 Series | 25 mm |  |  |  |  | Water Main Fittings | Westlake Pipe & Fittings | Fabricated PVC Crosses DR18 Branch smaller dia. than run | Run: 350 to 600 mm, Branch: 100 to 500 mm
|  | Curb Stops | Mueller | B-25209 Series | 40 mm |  |  |  |  | Water Main Fittings | Galaxy Plastics | Fabricated PVC Crosses DR18 Branch smaller dia. than run | Run: 350 to 600 mm, Branch: 100 to 500 mm
|  | Curb Stops | Mueller | B-25209 Series | 50 mm |  |  |  |  | Water Main Fittings | IPEX | Fabricated PVC Bends 90° DR18 | 250 to 600 mm
|  | Service Boxes | Norwood Foundry | Complete Service Box | 20 mm |  |  |  |  | Water Main Fittings | Westlake Pipe & Fittings | Fabricated PVC Bends 90° DR18 | 250 to 600 mm
|  | Service Boxes | Norwood Foundry | Complete Service Box | 25 mm |  |  |  |  | Water Main Fittings | Galaxy Plastics | Fabricated PVC Bends 90° DR18 | 250 to 600 mm
|  | Service Boxes | Norwood Foundry | Complete Service Box | 40 mm |  |  |  |  | Water Main Fittings | IPEX | Fabricated PVC Bends 45° DR18 | 250 to 600 mm
|  | Service Boxes | Norwood Foundry | Complete Service Box | 50 mm |  |  |  |  | Water Main Fittings | Westlake Pipe & Fittings | Fabricated PVC Bends 45° DR18 | 250 to 600 mm
|  | Service Boxes | Trojan Industries | Complete Service Box | 20 mm |  |  |  |  | Water Main Fittings | Galaxy Plastics | Fabricated PVC Bends 45° DR18 | 250 to 600 mm
|  | Service Boxes | Trojan Industries | Complete Service Box | 25 mm |  |  |  |  | Water Main Fittings | IPEX | Fabricated PVC Bends 22.5° DR18 | 250 to 600 mm
|  | Service Boxes | Trojan Industries | Complete Service Box | 40 mm |  |  |  |  | Water Main Fittings | Westlake Pipe & Fittings | Fabricated PVC Bends 22.5° DR18 | 250 to 600 mm
|  | Service Boxes | Trojan Industries | Complete Service Box | 50 mm |  |  |  |  | Water Main Fittings | Galaxy Plastics | Fabricated PVC Bends 22.5° DR18 | 250 to 600 mm
|  | Service Boxes | Westview Sales | Complete Service Box | 20 mm |  |  |  |  | Water Main Fittings | IPEX | Fabricated PVC Bends 11.25° DR18 | 250 to 600 mm
|  | Service Boxes | Westview Sales | Complete Service Box | 25 mm |  |  |  |  | Water Main Fittings | Westlake Pipe & Fittings | Fabricated PVC Bends 11.25° DR18 | 250 to 600 mm
|  | Service Boxes | Westview Sales | Complete Service Box | 40 mm |  |  |  |  | Water Main Fittings | Galaxy Plastics | Fabricated PVC Bends 11.25° DR18 | 250 to 600 mm
|  | Service Boxes | Westview Sales | Complete Service Box | 50 mm |  |  |  |  | Water Main Fittings | IPEX | Fabricated PVC Bends 5° DR18 | 250 to 600 mm
|  | CC Support Block | Re-Plastics Ltd. | - | 40x180x300 |  |  |  |  | Water Main Fittings | Westlake Pipe & Fittings | Fabricated PVC Bends 5° DR18 | 250 to 600 mm
|  | CC Support Block | Re-Plastics Ltd. | - | 40x140x300 |  |  |  |  | Water Main Fittings | Galaxy Plastics | Fabricated PVC Bends 5° DR18 | 250 to 600 mm
|  | Other | - | - | - |  |  |  |  | Water Main Fittings | IPEX | Fabricated PVC Caps DR18 | 100 to 600 mm
[10 empty] | Water Main Fittings | Westlake Pipe & Fittings | Fabricated PVC Caps DR18 | 100 to 600 mm
[10 empty] | Water Main Fittings | Galaxy Plastics | Fabricated PVC Caps DR18 | 100 to 600 mm
[10 empty] | Water Main Fittings | IPEX | Fabricated PVC Plugs DR18 | 350 to 600 mm
[10 empty] | Water Main Fittings | Westlake Pipe & Fittings | Fabricated PVC Plugs DR18 | 350 to 600 mm
[10 empty] | Water Main Fittings | Galaxy Plastics | Fabricated PVC Plugs DR18 | 350 to 600 mm
[10 empty] | Water Main Fittings | IPEX | Fabricated PVC Tees DR25 Branch dia. than run | 762 to 914 mm
[10 empty] | Water Main Fittings | Westlake Pipe & Fittings | Fabricated PVC Tees DR25 Branch dia. than run | 762 to 914 mm
[10 empty] | Water Main Fittings | Galaxy Plastics | Fabricated PVC Tees DR25 Branch smaller dia. than run | 762 to 914 mm
[10 empty] | Water Main Fittings | IPEX | Fabricated PVC Crosses DR25 Branch smaller dia. than run | 762 to 914 mm
[10 empty] | Water Main Fittings | Westlake Pipe & Fittings | Fabricated PVC Crosses DR25 Branch smaller dia. than run | 762 to 914 mm
[10 empty] | Water Main Fittings | Galaxy Plastics | Fabricated PVC Crosses DR25 Branch smaller dia. than run | 762 to 914 mm
[10 empty] | Water Main Fittings | IPEX | Fabricated PVC Bends 90° DR25 | 762 to 914 mm
[10 empty] | Water Main Fittings | Westlake Pipe & Fittings | Fabricated PVC Bends 90° DR25 | 762 to 914 mm
[10 empty] | Water Main Fittings | Galaxy Plastics | Fabricated PVC Bends 90° DR25 | 762 to 914 mm
[10 empty] | Water Main Fittings | IPEX | Fabricated PVC Bends 45° DR25 | 762 to 914 mm
[10 empty] | Water Main Fittings | Westlake Pipe & Fittings | Fabricated PVC Bends 45° DR25 | 762 to 914 mm
[10 empty] | Water Main Fittings | Galaxy Plastics | Fabricated PVC Bends 45° DR25 | 762 to 914 mm
[10 empty] | Water Main Fittings | IPEX | Fabricated PVC Bends 22.5° DR25 | 762 to 914 mm
[10 empty] | Water Main Fittings | Westlake Pipe & Fittings | Fabricated PVC Bends 22.5° DR25 | 762 to 914 mm
[10 empty] | Water Main Fittings | Galaxy Plastics | Fabricated PVC Bends 22.5° DR25 | 762 to 914 mm
[10 empty] | Water Main Fittings | IPEX | Fabricated PVC Bends 11.25° DR25 | 762 to 914 mm
[10 empty] | Water Main Fittings | Westlake Pipe & Fittings | Fabricated PVC Bends 11.25° DR25 | 762 to 914 mm
[10 empty] | Water Main Fittings | Galaxy Plastics | Fabricated PVC Bends 11.25° DR25 | 762 to 914 mm
[10 empty] | Water Main Fittings | IPEX | Fabricated PVC Bends 5° DR25 | 762 to 914 mm
[10 empty] | Water Main Fittings | Westlake Pipe & Fittings | Fabricated PVC Bends 5° DR25 | 762 to 914 mm
[10 empty] | Water Main Fittings | Galaxy Plastics | Fabricated PVC Bends 5° DR25 | 762 to 914 mm
[10 empty] | Water Main Fittings | IPEX | Fabricated PVC Caps DR25 | 762 to 914 mm
[10 empty] | Water Main Fittings | Westlake Pipe & Fittings | Fabricated PVC Caps DR25 | 762 to 914 mm
[10 empty] | Water Main Fittings | Galaxy Plastics | Fabricated PVC Caps DR25 | 762 to 914 mm
[10 empty] | Water Main Fittings | IPEX | Fabricated PVC Plugs DR25 | 762 to 914 mm
[10 empty] | Water Main Fittings | Westlake Pipe & Fittings | Fabricated PVC Plugs DR25 | 762 to 914 mm
[10 empty] | Water Main Fittings | Galaxy Plastics | Fabricated PVC Plugs DR25 | 762 to 914 mm
[10 empty] | Water Main Fittings | Westlake Pipe & Fittings | PVC Plugs and Caps by Harco | 100 to 200 mm
[10 empty] | Water Main Fittings | Westlake Pipe & Fittings | PVC Elbows by Harco | 100 to 200 mm
[10 empty] | Water Main Fittings | Westlake Pipe & Fittings | PVC Tees by Harco | 100 to 200 mm
[10 empty] | Water Main Fittings | Clow | CI Water Main Fittings | 100 to 300 mm
[10 empty] | Water Main Fittings | McAvity | CI Water Main Fittings | 100 to 300 mm
[10 empty] | Water Main Fittings | Norwood Foundry | CI Water Main Fittings | 100 to 600 mm
[10 empty] | Water Main Fittings | Sigma | CI Tyton Joint Fittings | 100 to 600 mm
[10 empty] | Water Main Fittings | Terminal City | Grey Iron Fittings | 100 to 900 mm
[10 empty] | Water Main Fittings | Tyler | Grey Iron Fittings | 100 to 600 mm
[10 empty] | Water Main Fittings | One Bolt Inc. | One Bolt Fitting | 100 to 300 mm
[10 empty] | Tapping Sleeves | Ford | FAST | 100 to 600 mm
[10 empty] | Tapping Sleeves | Ford | FTSC | 100 to 750 mm
[10 empty] | Tapping Sleeves | JCM | 412 | 150 to 750 mm
[10 empty] | Tapping Sleeves | JCM | 415 | -
[10 empty] | Tapping Sleeves | JCM | 422 | 100 to 300 mm
[10 empty] | Tapping Sleeves | JCM | 432 | 100 to 600 mm
[10 empty] | Tapping Sleeves | Robar | 6606 (Stainless Steel) | 100 to 600 mm
[10 empty] | Tapping Sleeves | Robar | 6906 (Carbon Steel) | 100 to 600 mm
[10 empty] | Tapping Sleeves | Romac | FTS 420 | 150 to 750 mm
[10 empty] | Tapping Sleeves | Romac | FTS 445 | -
[10 empty] | Tapping Sleeves | Romac | SST Series | 100 to 750 mm
[10 empty] | Tapping Sleeves | Smith Blair | 600 Series | 100 to 750 mm
[10 empty] | Tapping Sleeves | Smith Blair | 622 Series (Steel) | 101 to 750 mm
[10 empty] | Tapping Sleeves | Smith Blair | 626 Series (Steel) | 102 to 750 mm
[10 empty] | Expansion Joints | Romac | EJ400 | 100 to 600 mm
[10 empty] | Expansion Joints | Robar | 8808 | 101 to 600 mm
[10 empty] | Expansion Joints | Smith Blair | 611 | 102 to 600 mm
[10 empty] | Expansion Joints | Smith Blair | 612 | 103 to 600 mm
[10 empty] | Other | - | - | -

## Spill_Helper Sheet (hidden)
This page uses dynamic arrays that will change when the tables are affected, try to not touch these and only the tables If you have empty rows in your cammand tables you will see extra '0' in the drop down options
Options1
1. Gives the drop downs of the Manufacturer based on the sub category | Cerro | Great Lakes | Halstead | IPEX | Rehau | Wolverine | Other
2a. Finds all models under the subcategory | Blue 904 | Municipex | Q-Line PE-AL-PE | Type K | Other
2b. Finds all models under the given manufacturer | Blue 904 | Blue Brute | Q-Line PE-AL-PE | Other
2c. Finds the models specifically for that subcategory and manufacturer | Blue 904 | Q-Line PE-AL-PE | Other
3a. Finds all sizes under that manufactuerer | 100 mm | 20 mm | 25 mm | 25 to 50 mm | Other
3b. Finds all sizes under that model | 20 mm | 25 mm | Other
3. Gives the drop downs for the Sizes | 20 mm | 25 mm | Other
Options2
Manufacturers |  | Other
Models based on subcategory |  | Other
Models based on manufactuer |  | Other
Models relevant |  | Other
size based on manufacturer |  | Other
size based on models |  | Other
Size |  | Other
Options3
Manufacturers |  | Other
Models based on subcategory |  | Other
Models based on manufactuer |  | Other
Models |  | Other
size based on manufacturer |  | Other
size based on models |  | Other
Size |  | Other
Options4
Manufacturers |  | Other
Models based on subcategory |  | Other
Models based on manufactuer |  | Other
Models |  | Other
size based on manufacturer |  | Other
size based on models |  | Other
Size |  | Other
Options5
Manufacturers |  | Other
Models based on subcategory |  | Other
Models based on manufactuer |  | Other
Models |  | Other
size based on manufacturer |  | Other
size based on models |  | Other
Size |  | Other
Options6
Manufacturers |  | Other
Models based on subcategory |  | Other
Models based on manufactuer |  | Other
Models |  | Other
size based on manufacturer |  | Other
size based on models |  | Other
Size |  | Other
Options7
Manufacturers |  | Other
Models based on subcategory |  | Other
Models based on manufactuer |  | Other
Models |  | Other
size based on manufacturer |  | Other
size based on models |  | Other
Size |  | Other
Options8
Manufacturers | Municipal Solutions | Other
Models based on subcategory | HG (Hatch Guard) | Other
Models based on manufactuer | HG (Hatch Guard) | Other
Models | HG (Hatch Guard) | Other
size based on manufacturer | N/AP | Other
size based on models | N/AP | Other
Size | N/AP | Other
Options9
Manufacturers |  | Other
Models based on subcategory |  | Other
Models based on manufactuer |  | Other
Models |  | Other
size based on manufacturer |  | Other
size based on models |  | Other
Size |  | Other